## Water_spiked_Mcaps_JL
| VSMOW 2/1R: | 0.00015576 | Intended volumes for dilutions based on estimations of d2H sample and standards | [8 empty] | Actual (measured) masses of sample and standards used for dilution | [7 empty] | dD DATA FROM X. FENG LAB AT DARTMOUTH | [8 empty] | Dilution Corrrections
Vial Labes | Vial_label | Sample_name | estimated d2H [permil] sample (undiluted) | estimated F2H [ppm] sample (undiluted) | Amount of sample (µL) | Standard used for dilution | Estimated d2H Standard | estimate F2H [ppm] dilutant | Amount of Standard (mL) | estimated F2H [ppm] sample (diluted) | estimated d2H [permil] sample (diluted) | Ampule of X. Feng's standard used | Empty tube (g) |  | Tube + sample (g) | Tube + sample + std (g) | Actual amount of standard (g) | Actual amount of sample (g) | Notes | Run Name | Sample ID | Analysis Number | RunDate | dD_SMOW | d 2H/1H Standard Deviation | Comment_SA | Comment | ID CHECK | Standard used for dilution | dD of std | Balance precison | mass fraction sample | 1se | mass fraction standard | 1se | dD of original sample | 1se (mass spec + dilution error) | avg/stdev | Rstd | 1se | fstd | 1se | Rmix | 1se | Fmix | 1se | Fsample | 1se | Rsample | 1se | Expected values
| Jiawen's samples | [37 empty] | RD of SMOW |  | 0.000155
|  | T1_M1_+1500 | 1500 | 389.2592 | 200 | SPI(18) | -370 | 98.1219 | 1 | 146.6448 | -58.409 | SPI(18) | 2.3088 |  | 2.5155 | 3.5226 | 1.0071 | 0.2067 |  | T1_M1_1500 | T1_M1_1500 | 60732 | 02/21/23 | -62.6739 | 0.477 |  |  |  | SPI(18) | -370 | 0.0001 | 0.17029 | 9.9678e-05 | 0.82971 | 9.9678e-05 | 1435.1235 | 3.1659 | 1433.1521 | 9.765e-05 | 0 | 9.764e-05 | 0 | 0.00014529 | 7.3935e-08 | 0.00014526 | 7.3914e-08 | 0.0003773 | 4.9034e-07 | 0.00037744 | 4.9071e-07
|  | T1_M2_+1500 | 1500 | 389.2592 | 200 | SPI(18) | -370 | 98.1219 | 1 | 146.6448 | -58.409 | SPI(18) | 2.3183 | N/A | 2.5226 | 3.5198 | 0.9972 | 0.2043 |  | T1_M2_1500 | T1_M2_1500 | 60733 | 02/21/23 | -65.9628 | 0.477 |  |  |  | SPI(18) | -370 | 0.0001 | 0.17004 | 0.00010072 | 0.82996 | 0.00010072 | 1418.4716 | 3.1733 | 10.0156 | 9.765e-05 | 0 | 9.764e-05 | 0 | 0.00014478 | 7.3935e-08 | 0.00014475 | 7.3914e-08 | 0.00037472 | 4.9149e-07 | 0.00037486 | 4.9186e-07
|  | T2_M1_+1500 | 1500 | 389.2592 | 200 | SPI(18) | -370 | 98.1219 | 1 | 146.6448 | -58.409 | SPI(18) | 2.3268 | N/A | 2.5366 | 3.5395 | 1.0029 | 0.2098 |  | T2_M1_1500 | T2_M1_1500 | 60734 | 02/21/23 | -57.1314 | 0.477 |  |  |  | SPI(18) | -370 | 0.0001 | 0.173 | 9.9557e-05 | 0.827 | 9.9557e-05 | 1438.8832 | 3.1164 | 3.1375 | 9.765e-05 | 0 | 9.764e-05 | 0 | 0.00014614 | 7.3935e-08 | 0.00014612 | 7.3913e-08 | 0.00037788 | 4.8268e-07 | 0.00037803 | 4.8304e-07
|  | T2_M2_+1500 | 1500 | 389.2592 | 200 | SPI(18) | -370 | 98.1219 | 1 | 146.6448 | -58.409 | SPI(18) | 2.3336 |  | 2.5463 | 3.5563 | 1.01 | 0.2127 |  | T2_M2_1500 | T2_M2_1500 | 60735 | 02/21/23 | -55.1841 | 0.477 |  |  |  | SPI(18) | -370 | 0.0001 | 0.17396 | 9.8669e-05 | 0.82604 | 9.8669e-05 | 1440.13 | 3.0936 |  | 9.765e-05 | 0 | 9.764e-05 | 0 | 0.00014645 | 7.3935e-08 | 0.00014643 | 7.3913e-08 | 0.00037808 | 4.7915e-07 | 0.00037822 | 4.7951e-07
|  | T1_M1_+3000 | 3000 | 622.6692 | 100 | SPI(18) | -370 | 98.1219 | 1 | 145.808 | -63.7825 | SPI(18) | 2.3303 | N/A | 2.4465 | 3.4473 | 1.0008 | 0.1162 |  | T1_M1_3000 | T1_M1_3000 | 60736 | 02/21/23 | -19.2717 | 0.477 |  |  |  | SPI(18) | -370 | 0.0001 | 0.10403 | 0.00011458 | 0.89597 | 0.00011458 | 3003.0375 | 6.4039 | 3007.5979 | 9.765e-05 | 0 | 9.764e-05 | 0 | 0.00015201 | 7.3935e-08 | 0.00015199 | 7.3913e-08 | 0.00062009 | 9.9138e-07 | 0.00062047 | 9.9261e-07
|  | T1_M2_+3000 | 3000 | 622.6692 | 100 | SPI(18) | -370 | 98.1219 | 1 | 145.808 | -63.7825 | SPI(18) | 2.3417 |  | 2.4561 | 3.4619 | 1.0058 | 0.1144 |  | T1_M2_3000 | T1_M2_3000 | 60737 | 02/21/23 | -24.3227 | 0.477 |  |  |  | SPI(18) | -370 | 0.0001 | 0.10212 | 0.00011445 | 0.89788 | 0.00011445 | 3016.4524 | 6.5301 | 6.0743 | 9.765e-05 | 0 | 9.764e-05 | 0 | 0.00015123 | 7.3935e-08 | 0.00015121 | 7.3913e-08 | 0.00062216 | 1.0109e-06 | 0.00062255 | 1.0122e-06
|  | T2_M1_+3000 | 3000 | 622.6692 | 100 | SPI(18) | -370 | 98.1219 | 1 | 145.808 | -63.7825 | SPI(18) | 2.3365 |  | 2.452 | 3.4632 | 1.0112 | 0.1155 |  | T2_M1_3000 | T2_M1_3000 | 60738 | 02/21/23 | -24.0298 | 0.477 |  |  |  | SPI(18) | -370 | 0.0001 | 0.10251 | 0.00011375 | 0.89749 | 0.00011375 | 3006.5167 | 6.4785 |  | 9.765e-05 | 0 | 9.764e-05 | 0 | 0.00015128 | 7.3935e-08 | 0.00015125 | 7.3913e-08 | 0.00062062 | 1.0029e-06 | 0.00062101 | 1.0042e-06
|  | T2_M2_+3000 | 3000 | 622.6692 | 100 | SPI(18) | -370 | 98.1219 | 1 | 145.808 | -63.7825 | SPI(18) | 2.3043 |  | 2.4191 | 3.4271 | 1.008 | 0.1148 |  | T2_M2_3000 | T2_M2_3000 | 60739 | 02/21/23 | -25.15 | 0.477 |  |  |  | SPI(18) | -370 | 0.0001 | 0.10224 | 0.00011417 | 0.89776 | 0.00011417 | 3004.385 | 6.5054 |  | 9.765e-05 | 0 | 9.764e-05 | 0 | 0.0001511 | 7.3935e-08 | 0.00015108 | 7.3913e-08 | 0.00062029 | 1.0071e-06 | 0.00062068 | 1.0083e-06
|  | Lab_water_1 | -50 | 147.9542 | 1500 | None | -370 | 98.1219 | 0 | 147.9542 | -50 |  | 2.3372 |  | 3.8442 |  | no dilution | no dilution | No dilution for lab water samples | LW_1 | LW_1 | 60740 | 02/21/23 | -51.3346 | 0.477 |  |  |  | None | [6 empty] | -51.3346 | 0.477
|  | Lab_water_2 | -50 | 147.9542 | 1500 | None | -370 | 98.1219 | 0 | 147.9542 | -50 |  | 2.3157 |  | 3.8185 |  | no dilution | no dilution | No dilution for lab water samples | LW_2 | LW_2 | 60741 | 02/21/23 | -51.1447 | 0.477 |  |  |  | None | [6 empty] | -51.1447 | 0.477
Note on D1: to fill out for sample prep
Note on M1: to fill out during actual sample dilution

## import
Analysis | Date | Time | Line | Identifier 1 | SampleID | SampleType | Comment | Information | d 2H/1H Mean | d 2H/1H Std Dev | Memory | dD_me | dDsmow | QA | QC | Person | date
60727 | 02/21/23 | 15:58:50 | 8 | HTW-08-09b | HTW-08-09b | ST |  | Inject Sample No 58; Inlet Pressure Offset 0.07 mBar; Inlet Pressure 29.08 mBar; Peak Center found at (1893); Background: 5.87 mV,4.43 mV; Pressure Adjustment: Left: 3026.8 Right: 2957.0 ( Manual Adjustment ) | 251.41 | 0.244 |  | 251.4067 | -7.2463 | 1 | 1 | Xiahong | 2023-02-24
60728 | 02/21/23 | 16:17:50 | 9 | SUMS-15-03a | SUMS-15-03a | ST |  | Inject Sample No 61; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 29.08 mBar; Peak Center found at (1900); Background: 5.87 mV,4.33 mV; Pressure Adjustment: Left: 2964.3 Right: 2957.9 ( Manual Adjustment ) | -86.17 | 0.288 | 0.0041442 | -87.5365 | -270.6802 | 1 | 1 | Xiahong | 2023-02-24
60729 | 02/21/23 | 16:36:50 | 10 | SUMS-15-03b | SUMS-15-03b | ST |  | Inject Sample No 62; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 29.08 mBar; Peak Center found at (1893); Background: 5.87 mV,4.36 mV; Pressure Adjustment: Left: 3041.5 Right: 2957.7 ( Manual Adjustment ) | -87.569 | 0.242 |  | -87.5747 | -270.7098 | 1 | 1 | Xiahong | 2023-02-24
60730 | 02/21/23 | 16:55:59 | 11 | VTW-02-10a | VTW-02-10a | ST |  | Inject Sample No 59; Inlet Pressure Offset 0.22 mBar; Inlet Pressure 29.23 mBar; Peak Center found at (1893); Background: 5.88 mV,4.31 mV; Pressure Adjustment: Left: 2957.1 Right: 2958.0 ( Manual Adjustment ) | 174.958 | 0.091 | 0.0038625 | 176.0207 | -65.8379 | 1 | 1 | Xiahong | 2023-02-24
60731 | 02/21/23 | 17:15:20 | 12 | VTW-02-10b | VTW-02-10b | ST |  | Inject Sample No 60; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 29.08 mBar; Peak Center found at (1893); Background: 5.89 mV,4.34 mV; Pressure Adjustment: Left: 2954.0 Right: 2958.0 ( Manual Adjustment ) | 175.972 | 0.041 |  | 175.9761 | -65.8725 | 1 | 1 | Xiahong | 2023-02-24
60732 | 02/21/23 | 17:34:23 | 13 | T1_M1_1500 | T1_M1_1500 | SA |  | Inject Sample No 1; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.50 mBar; Peak Center found at (1893); Background: 5.89 mV,4.33 mV; Pressure Adjustment: Left: 3047.0 Right: 2956.2 ( Manual Adjustment ) | 180.075 | 0.163 |  | 180.0916 | -62.6739 | 1 | 1 | Xiahong | 2023-02-24
60733 | 02/21/23 | 17:53:31 | 14 | T1_M2_1500 | T1_M2_1500 | SA |  | Inject Sample No 2; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 29.23 mBar; Peak Center found at (1893); Background: 5.90 mV,4.38 mV; Pressure Adjustment: Left: 3048.0 Right: 2956.1 ( Manual Adjustment ) | 175.877 | 0.163 |  | 175.86 | -65.9628 | 1 | 1 | Xiahong | 2023-02-24
60734 | 02/21/23 | 18:12:34 | 15 | T2_M1_1500 | T2_M1_1500 | SA |  | Inject Sample No 3; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.64 mBar; Peak Center found at (1893); Background: 5.90 mV,4.35 mV; Pressure Adjustment: Left: 2952.6 Right: 2954.1 ( Manual Adjustment ) | 187.177 | 0.282 |  | 187.2227 | -57.1314 | 1 | 1 | Xiahong | 2023-02-24
60735 | 02/21/23 | 18:31:51 | 16 | T2_M2_1500 | T2_M2_1500 | SA |  | Inject Sample No 4; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 29.23 mBar; Peak Center found at (1893); Background: 5.89 mV,4.42 mV; Pressure Adjustment: Left: 2959.8 Right: 2957.5 ( Manual Adjustment ) | 189.718 | 0.045 |  | 189.7283 | -55.1841 | 1 | 1 | Xiahong | 2023-02-24
60736 | 02/21/23 | 18:50:47 | 17 | T1_M1_3000 | T1_M1_3000 | SA |  | Inject Sample No 5; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 29.08 mBar; Peak Center found at (1893); Background: 5.93 mV,4.38 mV; Pressure Adjustment: Left: 3023.1 Right: 2956.6 ( Manual Adjustment ) | 235.748 | 0.202 |  | 235.9343 | -19.2717 | 1 | 1 | Xiahong | 2023-02-24
60737 | 02/21/23 | 19:10:15 | 18 | T1_M2_3000 | T1_M2_3000 | SA |  | Inject Sample No 6; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.94 mBar; Peak Center found at (1893); Background: 5.92 mV,4.44 mV; Pressure Adjustment: Left: 2959.2 Right: 2960.9 ( Manual Adjustment ) | 229.461 | 0.164 |  | 229.4356 | -24.3227 | 1 | 1 | Xiahong | 2023-02-24
60738 | 02/21/23 | 19:29:26 | 19 | T2_M1_3000 | T2_M1_3000 | SA |  | Inject Sample No 7; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 29.08 mBar; Peak Center found at (1893); Background: 5.93 mV,4.29 mV; Pressure Adjustment: Left: 2968.5 Right: 2957.8 ( Manual Adjustment ) | 229.811 | 0.274 |  | 229.8124 | -24.0298 | 1 | 1 | Xiahong | 2023-02-24
60739 | 02/21/23 | 19:48:50 | 20 | T2_M2_3000 | T2_M2_3000 | SA |  | Inject Sample No 8; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 29.08 mBar; Peak Center found at (1893); Background: 5.93 mV,4.29 mV; Pressure Adjustment: Left: 2967.2 Right: 2958.8 ( Manual Adjustment ) | 228.377 | 0.291 |  | 228.3712 | -25.15 | 1 | 1 | Xiahong | 2023-02-24
60740 | 02/21/23 | 20:07:45 | 21 | LW_1 | LW_1 | SA |  | Inject Sample No 9; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 29.08 mBar; Peak Center found at (1893); Background: 5.94 mV,4.43 mV; Pressure Adjustment: Left: 2981.0 Right: 2954.9 ( Manual Adjustment ) | 194.817 | 0.242 |  | 194.6811 | -51.3346 | 1 | 1 | Xiahong | 2023-02-24
60741 | 02/21/23 | 20:27:04 | 22 | LW_2 | LW_2 | SA |  | Inject Sample No 10; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.94 mBar; Peak Center found at (1887); Background: 5.96 mV,4.40 mV; Pressure Adjustment: Left: 2959.2 Right: 2959.4 ( Manual Adjustment ) | 194.925 | 0.105 |  | 194.9254 | -51.1447 | 1 | 1 | Xiahong | 2023-02-24
60742 | 02/21/23 | 20:46:15 | 23 | SUMS-15-03a | SUMS | ST |  | Inject Sample No 61; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 28.64 mBar; Peak Center found at (1893); Background: 5.95 mV,4.61 mV; Pressure Adjustment: Left: 2969.4 Right: 2959.7 ( Manual Adjustment ) | -86.097 | 0.157 | 0.0033948 | -87.2346 | -270.4455 | 1 | 1 | Xiahong | 2023-02-24
60743 | 02/21/23 | 21:05:11 | 24 | SUMS-15-03b | SUMS | ST |  | Inject Sample No 62; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 29.08 mBar; Peak Center found at (1887); Background: 5.96 mV,4.38 mV; Pressure Adjustment: Left: 3025.0 Right: 2955.8 ( Manual Adjustment ) | -87.051 | 0.157 |  | -87.0549 | -270.3058 | 1 | 1 | Xiahong | 2023-02-24
60744 | 02/21/23 | 21:24:14 | 25 | HTW-08-09a | HTW | ST |  | Inject Sample No 57; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.94 mBar; Peak Center found at (1887); Background: 5.98 mV,4.37 mV; Pressure Adjustment: Left: 2975.1 Right: 2957.6 ( Manual Adjustment ) | 250.645 | 0.157 | 0.0044952 | 252.012 | -6.7758 | 1 | 1 | Xiahong | 2023-02-24
60745 | 02/21/23 | 21:43:12 | 26 | HTW-08-09b | HTW | ST |  | Inject Sample No 58; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.94 mBar; Peak Center found at (1887); Background: 5.97 mV,4.38 mV; Pressure Adjustment: Left: 2957.1 Right: 2957.3 ( Manual Adjustment ) | 252.163 | 0.101 |  | 252.1691 | -6.6537 | 1 | 1 | Xiahong | 2023-02-24
60746 | 02/21/23 | 22:02:06 | 27 | HKB-01 | HKB-01 | SA |  | Inject Sample No 11; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 28.79 mBar; Peak Center found at (1881); Background: 5.97 mV,4.40 mV; Pressure Adjustment: Left: 2991.2 Right: 2957.7 ( Manual Adjustment ) | 97.917 | 0.214 |  | 97.2926 | -127.027 | 1 | 1 | Xiahong | 2023-02-24
60747 | 02/21/23 | 22:21:06 | 28 | HKB-02 | HKB-02 | SA |  | Inject Sample No 12; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 29.08 mBar; Peak Center found at (1881); Background: 5.97 mV,4.26 mV; Pressure Adjustment: Left: 3038.1 Right: 2959.8 ( Manual Adjustment ) | 114.551 | 0.247 |  | 114.6183 | -113.5611 | 1 | 1 | Xiahong | 2023-02-24
60748 | 02/21/23 | 22:40:14 | 29 | HKB-03 | HKB-03 | SA |  | Inject Sample No 13; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 29.08 mBar; Peak Center found at (1881); Background: 5.97 mV,4.42 mV; Pressure Adjustment: Left: 2967.3 Right: 2963.6 ( Manual Adjustment ) | 138.997 | 0.147 |  | 139.096 | -94.5366 | 1 | 1 | Xiahong | 2023-02-24
60749 | 02/21/23 | 22:59:11 | 30 | HKB-04 | HKB-04 | SA |  | Inject Sample No 14; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 27.47 mBar; Peak Center found at (1881); Background: 5.97 mV,4.32 mV; Pressure Adjustment: Left: 2995.4 Right: 2963.7 ( Manual Adjustment ) | 104.131 | 0.234 |  | 103.9899 | -121.8218 | 1 | 1 | Xiahong | 2023-02-24
60750 | 02/21/23 | 23:18:21 | 31 | HKB-05 | HKB-05 | SA |  | Inject Sample No 15; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.64 mBar; Peak Center found at (1881); Background: 5.98 mV,4.36 mV; Pressure Adjustment: Left: 2967.9 Right: 2965.9 ( Manual Adjustment ) | 109.148 | 0.137 |  | 109.1683 | -117.797 | 1 | 1 | Xiahong | 2023-02-24
60751 | 02/21/23 | 23:37:28 | 32 | HKB-06 | HKB-06 | SA |  | Inject Sample No 16; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.35 mBar; Peak Center found at (1881); Background: 5.98 mV,4.38 mV; Pressure Adjustment: Left: 2963.5 Right: 2966.7 ( Manual Adjustment ) | 127.197 | 0.214 |  | 127.2701 | -103.7279 | 1 | 1 | Xiahong | 2023-02-24
60752 | 02/21/23 | 23:56:23 | 33 | HKB-07 | HKB-07 | SA |  | Inject Sample No 17; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 28.79 mBar; Peak Center found at (1881); Background: 5.98 mV,4.38 mV; Pressure Adjustment: Left: 2997.8 Right: 2971.7 ( Manual Adjustment ) | 152.913 | 0.238 |  | 153.0171 | -83.7168 | 1 | 1 | Xiahong | 2023-02-24
60753 | 02/22/23 | 00:15:25 | 34 | HKB-08 | HKB-08 | SA |  | Inject Sample No 18; Inlet Pressure Offset -0.07 mBar; Inlet Pressure 28.50 mBar; Peak Center found at (1881); Background: 5.97 mV,4.36 mV; Pressure Adjustment: Left: 3035.7 Right: 2953.9 ( Manual Adjustment ) | 109.056 | 0.205 |  | 108.8785 | -118.0223 | 1 | 1 | Xiahong | 2023-02-24
60754 | 02/22/23 | 00:34:33 | 35 | HKB-09 | HKB-09 | SA |  | Inject Sample No 19; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.79 mBar; Peak Center found at (1881); Background: 5.97 mV,4.40 mV; Pressure Adjustment: Left: 3039.6 Right: 2957.4 ( Manual Adjustment ) | 109.343 | 0.135 |  | 109.3442 | -117.6603 | 1 | 1 | Xiahong | 2023-02-24
60755 | 02/22/23 | 00:53:29 | 36 | HKB-10 | HKB-10 | SA |  | Inject Sample No 20; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 28.50 mBar; Peak Center found at (1881); Background: 5.97 mV,4.34 mV; Pressure Adjustment: Left: 2997.4 Right: 2957.9 ( Manual Adjustment ) | 109.444 | 0.316 |  | 109.4444 | -117.5824 | 1 | 1 | Xiahong | 2023-02-24
60756 | 02/22/23 | 01:12:27 | 37 | SUMS-15-03a | SUMS | ST |  | Inject Sample No 61; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.94 mBar; Peak Center found at (1881); Background: 5.97 mV,4.31 mV; Pressure Adjustment: Left: 2953.6 Right: 2959.6 ( Manual Adjustment ) | -85.792 | 0.13 | 0.0024842 | -86.5823 | -269.9385 | 1 | 1 | Xiahong | 2023-02-24
60757 | 02/22/23 | 01:31:22 | 38 | SUMS-15-03b | SUMS | ST |  | Inject Sample No 62; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.94 mBar; Peak Center found at (1881); Background: 5.97 mV,4.32 mV; Pressure Adjustment: Left: 2966.9 Right: 2959.5 ( Manual Adjustment ) | -86.277 | 0.205 |  | -86.279 | -269.7027 | 1 | 1 | Xiahong | 2023-02-24
60758 | 02/22/23 | 01:50:16 | 39 | HTW-08-09a | HTW | ST |  | Inject Sample No 57; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 27.77 mBar; Peak Center found at (1887); Background: 5.98 mV,4.39 mV; Pressure Adjustment: Left: 2979.5 Right: 2963.0 ( Manual Adjustment ) | 251.428 | 0.256 |  | 252.795 | -6.1672 | 1 | 1 | Xiahong | 2023-02-24
60759 | 02/22/23 | 02:09:16 | 40 | HTW-08-09b | HTW | ST |  | Inject Sample No 58; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 29.08 mBar; Peak Center found at (1887); Background: 5.97 mV,4.39 mV; Pressure Adjustment: Left: 3041.6 Right: 2964.4 ( Manual Adjustment ) | 251.347 | 0.294 |  | 251.3467 | -7.2929 | 1 | 1 | Xiahong | 2023-02-24
60760 | 02/22/23 | 02:28:27 | 41 | VTW-02-10a | VTW | ST |  | Inject Sample No 59; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 27.91 mBar; Peak Center found at (1887); Background: 5.99 mV,4.38 mV; Pressure Adjustment: Left: 2974.9 Right: 2965.3 ( Manual Adjustment ) | 176.382 | 0.359 |  | 176.0785 | -65.7929 | 1 | 1 | Xiahong | 2023-02-24
60761 | 02/22/23 | 02:47:22 | 42 | VTW-02-10b | VTW | ST |  | Inject Sample No 60; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.94 mBar; Peak Center found at (1887); Background: 5.98 mV,4.40 mV; Pressure Adjustment: Left: 3003.0 Right: 2963.1 ( Manual Adjustment ) | 175.426 | 0.198 |  | 175.4221 | -66.3031 | 1 | 1 | Xiahong | 2023-02-24
60762 | 02/22/23 | 03:06:22 | 43 | HKB-11 | HKB-11 | SA |  | Inject Sample No 21; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.64 mBar; Peak Center found at (1881); Background: 6.19 mV,4.40 mV; Pressure Adjustment: Left: 3035.5 Right: 2964.8 ( Manual Adjustment ) | 137.565 | 0.183 |  | 137.4117 | -95.8456 | 1 | 1 | Xiahong | 2023-02-24
60763 | 02/22/23 | 03:25:31 | 44 | HKB-12 | HKB-12 | SA |  | Inject Sample No 22; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.79 mBar; Peak Center found at (1887); Background: 6.23 mV,4.37 mV; Pressure Adjustment: Left: 2973.7 Right: 2965.6 ( Manual Adjustment ) | 139.067 | 0.193 |  | 139.0731 | -94.5544 | 1 | 1 | Xiahong | 2023-02-24
60764 | 02/22/23 | 03:44:52 | 45 | HKB-13 | HKB-13 | SA |  | Inject Sample No 23; Inlet Pressure Offset 0.22 mBar; Inlet Pressure 28.79 mBar; Peak Center found at (1887); Background: 5.99 mV,4.38 mV; Pressure Adjustment: Left: 2964.6 Right: 2966.9 ( Manual Adjustment ) | 136.754 | 0.062 |  | 136.7446 | -96.3641 | 1 | 1 | Xiahong | 2023-02-24
60765 | 02/22/23 | 04:03:49 | 46 | HKB-14 | HKB-14 | SA |  | Inject Sample No 24; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.94 mBar; Peak Center found at (1887); Background: 6.32 mV,4.41 mV; Pressure Adjustment: Left: 3012.3 Right: 2967.9 ( Manual Adjustment ) | 196.209 | 0.139 |  | 196.4497 | -49.9601 | 1 | 1 | Xiahong | 2023-02-24
60766 | 02/22/23 | 04:22:45 | 47 | HKB-15 | HKB-15 | SA |  | Inject Sample No 25; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.79 mBar; Peak Center found at (1887); Background: 5.98 mV,4.47 mV; Pressure Adjustment: Left: 2958.0 Right: 2967.7 ( Manual Adjustment ) | 197.816 | 0.222 |  | 197.8225 | -48.8931 | 1 | 1 | Xiahong | 2023-02-24
60767 | 02/22/23 | 04:41:46 | 48 | HKB-16 | HKB-16 | SA |  | Inject Sample No 26; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.64 mBar; Peak Center found at (1887); Background: 6.01 mV,4.50 mV; Pressure Adjustment: Left: 3043.5 Right: 2969.4 ( Manual Adjustment ) | 195.285 | 0.169 |  | 195.2748 | -50.8732 | 1 | 1 | Xiahong | 2023-02-24
60768 | 02/22/23 | 05:00:50 | 49 | HKB-17 | HKB-17 | SA |  | Inject Sample No 27; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.21 mBar; Peak Center found at (1881); Background: 5.99 mV,4.33 mV; Pressure Adjustment: Left: 2971.1 Right: 2969.5 ( Manual Adjustment ) | 105.762 | 0.106 |  | 105.3996 | -120.7261 | 1 | 1 | Xiahong | 2023-02-24
60769 | 02/22/23 | 05:20:15 | 50 | HKB-18 | HKB-18 | SA |  | Inject Sample No 28; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.06 mBar; Peak Center found at (1881); Background: 6.00 mV,4.35 mV; Pressure Adjustment: Left: 2961.3 Right: 2972.6 ( Manual Adjustment ) | 105.786 | 0.166 |  | 105.7861 | -120.4257 | 1 | 1 | Xiahong | 2023-02-24
60770 | 02/22/23 | 05:39:08 | 51 | HKB-19 | HKB-19 | SA |  | Inject Sample No 29; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.35 mBar; Peak Center found at (1881); Background: 6.00 mV,4.42 mV; Pressure Adjustment: Left: 2990.4 Right: 2970.0 ( Manual Adjustment ) | 105.183 | 0.141 |  | 105.1806 | -120.8963 | 1 | 1 | Xiahong | 2023-02-24
60771 | 02/22/23 | 05:58:08 | 52 | HKB-20 | HKB-20 | SA |  | Inject Sample No 30; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 28.50 mBar; Peak Center found at (1881); Background: 5.99 mV,4.38 mV; Pressure Adjustment: Left: 3036.7 Right: 2973.1 ( Manual Adjustment ) | 96.636 | 0.189 |  | 96.6014 | -127.5642 | 1 | 1 | Xiahong | 2023-02-24
60772 | 02/22/23 | 06:17:04 | 53 | SUMS-15-03a | SUMS | ST |  | Inject Sample No 61; Inlet Pressure Offset -0.07 mBar; Inlet Pressure 27.03 mBar; Peak Center found at (1881); Background: 6.01 mV,4.40 mV; Pressure Adjustment: Left: 2985.7 Right: 2977.5 ( Manual Adjustment ) | -86.203 | 0.092 |  | -86.9431 | -270.219 | 1 | 1 | Xiahong | 2023-02-24
60773 | 02/22/23 | 06:36:13 | 54 | SUMS-15-03b | SUMS | ST |  | Inject Sample No 62; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.06 mBar; Peak Center found at (1881); Background: 5.99 mV,4.34 mV; Pressure Adjustment: Left: 2970.7 Right: 2953.8 ( Manual Adjustment ) | -85.965 | 0.215 |  | -85.964 | -269.458 | 1 | 1 | Xiahong | 2023-02-24
60774 | 02/22/23 | 06:55:16 | 55 | VTW-02-10a | VTW | ST |  | Inject Sample No 59; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 29.52 mBar; Peak Center found at (1881); Background: 5.99 mV,4.29 mV; Pressure Adjustment: Left: 2955.6 Right: 2953.5 ( Manual Adjustment ) | 174.849 | 0.188 |  | 175.9048 | -65.928 | 1 | 1 | Xiahong | 2023-02-24
60775 | 02/22/23 | 07:14:11 | 56 | VTW-02-10b | VTW | ST |  | Inject Sample No 60; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 29.52 mBar; Peak Center found at (1881); Background: 6.00 mV,4.38 mV; Pressure Adjustment: Left: 3010.5 Right: 2955.5 ( Manual Adjustment ) | 174.912 | 0.215 |  | 174.9123 | -66.6994 | 1 | 1 | Xiahong | 2023-02-24
60776 | 02/22/23 | 07:33:25 | 57 | HKB-21 | HKB-21 | SA |  | Inject Sample No 31; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 28.21 mBar; Peak Center found at (1881); Background: 6.00 mV,4.40 mV; Pressure Adjustment: Left: 3035.0 Right: 2960.3 ( Manual Adjustment ) | 96.807 | 0.1 |  | 96.4908 | -127.6502 | 1 | 1 | Xiahong | 2023-02-24
60777 | 02/22/23 | 07:52:35 | 58 | HKB-22 | HKB-22 | SA |  | Inject Sample No 32; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.06 mBar; Peak Center found at (1887); Background: 5.99 mV,4.37 mV; Pressure Adjustment: Left: 2958.8 Right: 2961.2 ( Manual Adjustment ) | 97.616 | 0.275 |  | 97.6193 | -126.7731 | 1 | 1 | Xiahong | 2023-02-24
60778 | 02/22/23 | 08:11:41 | 59 | HKB-23 | HKB-23 | SA |  | Inject Sample No 33; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.35 mBar; Peak Center found at (1881); Background: 6.01 mV,4.42 mV; Pressure Adjustment: Left: 2956.4 Right: 2963.7 ( Manual Adjustment ) | 112.795 | 0.177 |  | 112.8564 | -114.9305 | 1 | 1 | Xiahong | 2023-02-24
60779 | 02/22/23 | 08:30:50 | 60 | HKB-24 | HKB-24 | SA |  | Inject Sample No 34; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.06 mBar; Peak Center found at (1881); Background: 6.00 mV,4.44 mV; Pressure Adjustment: Left: 3029.0 Right: 2965.7 ( Manual Adjustment ) | 112.371 | 0.124 |  | 112.3693 | -115.3091 | 1 | 1 | Xiahong | 2023-02-24
60780 | 02/22/23 | 08:49:48 | 61 | HKB-25 | HKB-25 | SA |  | Inject Sample No 35; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 27.91 mBar; Peak Center found at (1881); Background: 6.00 mV,4.47 mV; Pressure Adjustment: Left: 2969.4 Right: 2966.0 ( Manual Adjustment ) | 109.889 | 0.122 |  | 109.879 | -117.2447 | 1 | 1 | Xiahong | 2023-02-24
60781 | 02/22/23 | 09:08:57 | 62 | MW259 | MW259 | SA |  | Inject Sample No 36; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 29.38 mBar; Peak Center found at (1887); Background: 6.04 mV,4.32 mV; Pressure Adjustment: Left: 2962.0 Right: 2968.5 ( Manual Adjustment ) | 100.224 | 0.237 |  | 100.1849 | -124.7791 | 1 | 1 | Xiahong | 2023-02-24
60782 | 02/22/23 | 09:27:54 | 63 | MW261 | MW261 | SA |  | Inject Sample No 37; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.21 mBar; Peak Center found at (1881); Background: 6.19 mV,4.44 mV; Pressure Adjustment: Left: 2999.4 Right: 2967.8 ( Manual Adjustment ) | 200.101 | 0.181 |  | 200.5053 | -46.8079 | 1 | 1 | Xiahong | 2023-02-24
60783 | 02/22/23 | 09:46:51 | 64 | MW262 | MW262 | SA |  | Inject Sample No 38; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 29.96 mBar; Peak Center found at (1887); Background: 6.00 mV,4.29 mV; Pressure Adjustment: Left: 2969.8 Right: 2970.5 ( Manual Adjustment ) | 156.656 | 0.182 |  | 156.4801 | -81.0252 | 1 | 1 | Xiahong | 2023-02-24
60784 | 02/22/23 | 10:06:01 | 65 | MW263 | MW263 | SA |  | Inject Sample No 39; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 28.50 mBar; Peak Center found at (1887); Background: 6.01 mV,4.41 mV; Pressure Adjustment: Left: 3032.8 Right: 2972.4 ( Manual Adjustment ) | 185.925 | 0.13 |  | 186.0435 | -58.048 | 1 | 1 | Xiahong | 2023-02-24
60785 | 02/22/23 | 10:25:12 | 66 | MW264 | MW264 | ST |  | Inject Sample No 40; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 27.91 mBar; Peak Center found at (1881); Background: 6.11 mV,4.43 mV; Pressure Adjustment: Left: 2950.4 Right: 2971.5 ( Manual Adjustment ) | 203.971 | 0.104 |  | 204.0441 | -44.0575 | 1 | 1 | Xiahong | 2023-02-24
60786 | 02/22/23 | 10:44:08 | 67 | SUMS-15-03a | SUMS | ST |  | Inject Sample No 61; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 28.35 mBar; Peak Center found at (1887); Background: 6.01 mV,4.37 mV; Pressure Adjustment: Left: 3024.0 Right: 2970.9 ( Manual Adjustment ) | -86.476 | 0.148 |  | -87.6517 | -270.7697 | 1 | 1 | Xiahong | 2023-02-24
60787 | 02/22/23 | 11:03:14 | 68 | SUMS-15-03b | SUMS | ST |  | Inject Sample No 62; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 28.21 mBar; Peak Center found at (1887); Background: 6.01 mV,4.38 mV; Pressure Adjustment: Left: 2956.5 Right: 2971.4 ( Manual Adjustment ) | -85.415 | 0.054 |  | -85.4107 | -269.0279 | 1 | 1 | Xiahong | 2023-02-24
60788 | 02/22/23 | 11:22:08 | 69 | HTW-08-09a | HTW | ST |  | Inject Sample No 57; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.50 mBar; Peak Center found at (1887); Background: 6.02 mV,4.41 mV; Pressure Adjustment: Left: 2980.8 Right: 2970.6 ( Manual Adjustment ) | 251.519 | 0.245 | 0.0037485 | 252.8829 | -6.0989 | 1 | 1 | Xiahong | 2023-02-24
60789 | 02/22/23 | 11:41:22 | 70 | HTW-08-09b | HTW | ST |  | Inject Sample No 58; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 28.21 mBar; Peak Center found at (1881); Background: 6.01 mV,4.38 mV; Pressure Adjustment: Left: 2975.2 Right: 2970.3 ( Manual Adjustment ) | 252.782 | 0.207 |  | 252.7871 | -6.1734 | 1 | 1 | Xiahong | 2023-02-24
60790 | 02/22/23 | 12:00:20 | 71 | VTW-02-10a | VTW | ST |  | Inject Sample No 59; Inlet Pressure Offset 0.37 mBar; Inlet Pressure 28.06 mBar; Peak Center found at (1887); Background: 6.02 mV,4.41 mV; Pressure Adjustment: Left: 3006.8 Right: 2965.4 ( Manual Adjustment ) | 175.77 | 0.251 | 0.0062068 | 175.4583 | -66.275 | 1 | 1 | Xiahong | 2023-02-24
60791 | 02/22/23 | 12:19:21 | 72 | VTW-02-10b | VTW | ST |  | Inject Sample No 60; Inlet Pressure Offset 0.51 mBar; Inlet Pressure 27.91 mBar; Peak Center found at (1881); Background: 6.01 mV,4.42 mV; Pressure Adjustment: Left: 3039.9 Right: 2965.2 ( Manual Adjustment ) | 175.292 | 0.139 |  | 175.2901 | -66.4058 | 1 | 1 | Xiahong | 2023-02-24

## Notes
Tab | Contents
CU Calc Tab | Suggested dilution calculations from Kopf lab
Dartmouth calcs | Dilution calculations by Carrie Harris, show how samples were diluted in X. Feng Lab at Dartmouth
For Tristan's +30,000 per mille samples, we did a 2-step dilution.
First, we added 3 mls of a MQ H2O standard to each empty plastic bottle BEFORE adding the sample to be diluted. We did tthis to prevent deuterium from absorbing into the plastic bottles.
Then we added 200uL sample.
Finally, we added ~200mL of MQ standard.
The "actual amount of standard" column (R) reflects both standard additions.
MQH2O | dD data for 10 runs of the MilliQ water standard created by X. Feng for dilution the +30,000 per mille dD samples